Yale University School of Medicine

Section of Comparative Medicine

P.O. Box 208016                                                                   CMED.MSD@YALE.EDU
New Haven, CT 06520-8016                                                 Lab: (203) 785-4715

                                                                                               Federal ID # 060 64 6973                                                                                                                                                
Submission Instructions: Biological Contaminant Testing

· Cultured cells/Hybridoma cells: Please submit approximately 107 cells in a plastic centrifuge tube with up to 4 ml of spent media. If cryopreservant is present in sample, please note on the submission sheet. The cells should be held at –70C from the time of collection until they are shipped. 
· Tumors or tissues: 100 mg
· Feces: up to 6 mouse pellets per 1.5 ml tube

· Environmental samples: up to 4 synthetic swabs in a 1.5 ml tube
· Prior to shipment, electrical or Teflon tape should be wrapped around the cap of each sample tube so that dry ice vapor (which is virucidal) cannot penetrate the tube. 

· The samples should be packed in dry ice (enough to last two days in case of shipping problems) and shipped overnight freight by express carrier. Turn around time is around 2 weeks. 

· Please include submission sheet containing PO# and contact information with an email address. An email address is needed for reporting results. Only top portion of submission sheet needs to be filled out by you. 

Shipping address:

Yale University School of Medicine 

Section of Comparative Medicine
C/O Molecular Diagnostic Laboratory 

310 Cedar Street

Brady Memorial Laboratory, Room B33 (BML B33)

New Haven, CT 06520

